Transition impact note

Survey a real building and recommend a decarbonisation pathway

| Time needed | Approximately 6 hours: 3 hours on site, 3 hours writing |
| --- | --- |
| Where | A real building you have access to through work or placement |
| Supervision | Workplace supervisor agrees the building and signs off the completed note |
| You produce | A completed data sheet and a 500–800 word transition impact note |
| Works with | EQF 4 Module 1; video case study VET-04; case study platform VET-11 |

What you will be able to do

- Gather the building, energy and technical information needed to make a heating decision.

- Recognise which decarbonisation pathway, or combination, suits a real building.

- Justify a recommendation using the data you collected rather than general statements.

- Identify what you would need to refer to a specialist.

- Communicate your analysis clearly to a building owner or manager.

Before you start

Permission first Agree the building with your workplace supervisor before you begin. You must have permission to be in the building and to look at its energy data. This project involves observation and desk work only. You do not need to open, operate or adjust any equipment.

The task

1.  Agree a building with your supervisor. An office, school, workshop, community building or similar. It should have an existing heating system and be in normal use.

2.  Record the building data: age, floor area, number of users, construction type, overall condition, and any renovation planned.

3.  Gather the energy data. Use utility bills, meter readings or the facility manager's records. Work out the annual energy use per square metre if you can.

4.  Record the technical systems: how the building is heated, how it is ventilated, whether it is cooled, how it is controlled, and the approximate age and condition of each.

5.  Record the location and context: is there a district heating network nearby, what is the electricity supply like, are there local renewable resources, and are there any local plans or targets that apply.

6.  Identify the constraints: budget, disruption the building can tolerate, space for new plant, planning or heritage restrictions.

7.  Choose a pathway or a combination of pathways and be ready to say why. Use the four pathways from Module 1: efficiency first, heat pumps and electrification, district heating, renewable heat.

8.  Write the note. 500–800 words, with clear headings.

Data collection sheet

Complete on site. Write 'not available' rather than leaving a row blank — knowing what you could not find out is part of the result.

| What to record | Your answer |
| --- | --- |
| Building name and type |  |
| Year built |  |
| Floor area (m2) |  |
| Number of regular users |  |
| Construction type and condition |  |
| Annual energy use (kWh) |  |
| Energy use per area (kWh/m2) |  |
| Main heating fuel or source |  |
| Heating system type and approximate age |  |
| Ventilation — type, and is there heat recovery? |  |
| Cooling — is there any, and what type? |  |
| Controls — what is fitted and does it work? |  |
| District heating available nearby? |  |
| Local renewable resources? |  |
| Known constraints (budget, space, planning, disruption) |  |
| Any organisational climate or energy targets? |  |

Your note should include

- A brief description of the building and its current situation.

- Your recommended pathway and the main measures it would involve.

- The expected benefits: energy, emissions, comfort and cost.

- The key risks and challenges.

- Any additional information you would need before a decision could be made.

- Anything you would refer to a specialist, and why.

How your work will be assessed

| Criterion | What good looks like |
| --- | --- |
| Relevance and justification of the chosen pathway | The recommendation clearly fits this building rather than being a general answer. |
| Use of data | The argument rests on figures you collected, not on assumptions. |
| Clear and logical analysis | The reader can follow how you got from the data to the recommendation. |
| Benefits, costs, risks and compliance | All four are considered, not just the technical solution. |
| Knowing when to refer | You have identified at least one thing that needs specialist input. |
| Structure and clarity | Clear headings, plain language, within the word count. |

Supervisor sign-off

To be completed by the workplace supervisor. The learner cannot be assessed on this project without a completed sign-off.

| Item | Supervisor confirmation |
| --- | --- |
| Building agreed and permission given |  |
| Learner carried out the survey as described |  |
| Data sheet completed |  |
| Note submitted and discussed |  |
| Any site-specific comments |  |

| Supervisor name |  |
| --- | --- |
| Role / organisation |  |
| Signature |  |
| Date |  |
| Learner name |  |
| Learner signature |  |
| Date |  |